KT1SU Temperature Logger Instructions (Single Use)

Important information before use - WARNING:
The KT1SU is a single-use temperature logger. This means it can only be started once. Once activated, it cannot be restarted or reprogrammed.

Pre-configured

This logger has been pre-programmed by us. You do not need to configure any settings.

Starting the logger

- Press and hold the start button for approximately 8 seconds.

- The logger is activated when all LEDs flash up and down.

  - If the LEDs do not flash, the logger may have already been started or the button was not held long enough.

After use – reading out the logger

- Plug the logger into a USB port on your computer after transport.

- The logger will behave like a USB stick and automatically generate:

  - A PDF report

  - Optionally, additional files such as .TXT, .CSV or .KLG

Calibration certificate

You can find the link to the individual calibration certificate:

- In the PDF report generated by the logger

- Or via the KeyTag Manager Software during data download

Software requirement

Always use the latest version of the KeyTag Manager software:

- Version 1.19.10 or higher

- Download at: www.dataloggers.shop/Software

Support and contact

Do you have questions or need assistance with your KT1SU logger?
We are happy to help.

Dataloggers.shop
www.dataloggers.shop
✉ mail@tempro.be